Faculty of Artificial intelligence Engineering

Department of AI & Data Science

Early Detection of Diabetic Retinopathy

Using Deep Learning

Prepared by

Mohammad Barazi

Mohammad Khir Al homsi

Senior 1 project

Supervised by

Dr. Nisreen Sulayman

Eng. Zeinab Baghdadi

2025-2026

Faculty of Artificial intelligence Engineering

Department of AI & Data Science

Name:

Date:

Signature:

Abstract

This project presents an AI-based system for automated grading of diabetic retinopathy severity from retinal fundus images using deep learning. The goal is to develop a robust and scalable model capable of classifying diabetic retinopathy into five ordinal grades (0–4) on the APTOS 2019 dataset. The dataset contains 3,662 clinician-labeled images and exhibits a clear class imbalance across the five grades, which can bias standard classifiers toward the majority class. To address these challenges, a transfer-learning approach was adopted using an EfficientNetB3 backbone pretrained on ImageNet, with a regression-based output head to better reflect the ordinal nature of the labels. Key preprocessing steps included removing dark borders/background artifacts via image cropping, resizing to a fixed resolution, and normalization to reduce variability arising from different acquisition conditions. Training was conducted using stratified 5-fold cross-validation with class-weighted optimization to mitigate imbalance effects. In addition, an optimized thresholding strategy was applied to map continuous predictions to discrete grades, explicitly maximizing the Quadratic Weighted Kappa (QWK), the standard metric for APTOS 2019. The model achieved strong validation performance with a mean best-fold QWK of 0.860 (std 0.014) and a peak fold QWK of 0.887. The results indicate that combining ordinal-aware modeling with threshold optimization can improve agreement with clinical grading, supporting practical use cases such as large-scale screening and decision support, while highlighting opportunities for future work in external validation, interpretability, and more advanced imbalance handling.

الملخص

يقدّم هذا المشروع نظاماً قائماً على الذكاء الاصطناعي للتصنيف الآلي لشدّة اعتلال الشبكية السكري اعتماداً على صور قاع العين باستخدام تقنيات التعلّم العميق. يهدف العمل إلى تطوير نموذج قوي وقابل للتوسّع قادر على تصنيف اعتلال الشبكية السكري إلى خمس درجات مرتّبة (0–4) بالاعتماد على مجموعة بيانات APTOS 2019. تحتوي مجموعة البيانات على 3,662 صورة مُعنونة من قبل مختصين، وتُظهر اختلالاً واضحاً في توازن الفئات عبر الدرجات الخمس، ما قد يسبّب انحياز النماذج التقليدية نحو الفئة الأكبر. لمواجهة هذه التحديات، تم اعتماد منهجية نقل التعلّم باستخدام بنية EfficientNetB3 المُدرّبة مسبقاً على ImageNet، مع رأس إخراج بصيغة انحدار (Regression) لتمثيل الطبيعة الرتبية للتصنيفات بشكل أدق. شملت خطوات المعالجة المسبقة الأساسية إزالة الحواف/الخلفية الداكنة عبر قصّ الصورة، وتغيير الحجم إلى أبعاد ثابتة، وإجراء التطبيع لتقليل التباين الناتج عن اختلاف ظروف التصوير. تم تدريب النموذج باستخدام تحقق متقاطع Stratified K-Fold بخمس طيات مع أوزان للفئات للتخفيف من أثر عدم التوازن. إضافةً إلى ذلك، تم تطبيق استراتيجية تحسين العتبات (Optimized Thresholding) لتحويل التنبؤات المستمرة إلى درجات منفصلة مع تعظيم معيار Quadratic Weighted Kappa (QWK) بوصفه المقياس القياسي في APTOS 2019. حقق النموذج أداءً قوياً على بيانات التحقق بمتوسط أفضل QWK عبر الطيات قدره 0.860 (انحراف معياري 0.014) وبقيمة قصوى وصلت إلى 0.887. تشير النتائج إلى أن دمج النمذجة الحسّاسة للرتبية مع تحسين العتبات يمكن أن يرفع مستوى الاتفاق مع التقييم السريري، بما يدعم تطبيقات عملية مثل الفحص واسع النطاق ودعم القرار، مع إبراز فرص عمل مستقبلية تشمل التحقق الخارجي، ورفع قابلية التفسير، وتبنّي أساليب أكثر تقدماً لمعالجة عدم توازن الفئات.

# Table of Contents:

1.	Table of Contents:	VI

1.	Chapter 1 Introduction	1

1.1.	Introduction	2

1.2.	Problem Definition	2

1.3.	Project Objectives	3

1.4.	Tools and concepts	4

EfficientNetB3	4

2.	Chapter Literature Review	7

1.5.	Introduction	7

2.2.Used Tools	7

2.2.1Apply of Parsifal in Our Project	8

2.3.Summary of the Accepted Papers:	9

3.	2.2.1.An End-to-End deep learning system for writer identification in handwritten Arabic manuscripts	9

2.3.1.2.Contribution	11

2.3.2.A deep learning based system for writer identification in handwritten Arabic historical manuscripts	12

2.3.3.A model-based approach to offline text-independent Arabic writer identification and verification	15

2.3.4.Arabic Writer Identification System Using the Histogram of Oriented Gradients (HOG) of Handwritten Fragments	21

2.3.5.Intelligent Arabic Handwriting Recognition Using Different Standalone and Hybrid CNN Architectures	24

2.4.Comparation	26

2.5.Pros and Cons	27

2.6.Conclusion	28

4.	29

5.	29

6.	Chapter .3Project Management	30

3.1.Introduction :	30

3.2.The objective of project management:	31

3.3.Project charter:	31

4.5.Preliminary Scope Statement :	34

	Risk Management :	36

7.	36

8.	Chapter 4.Dataset collection	37

4.1.Introduction	37

4.2.KHAT Dataset	37

4.2.1.Structure of the KHAT Dataset :	38

4.2.2.Availability	38

4.2.3Data preprocessing	39

4.3.Our Dataset	39

4.3.3Data preprocessing(Crop )	40

4.3.4.Datsset pre-processing (Binary Format )	41

9.	Chapter 5. Implementation	43

5.1.Introduction	43

5.2Objective of the Project	43

5.3Dataset Overview	44

5.4Model Architecture	44

5.5 Training Details	44

10.	5.6Results	45

5.6.1Accuracy Over Epochs	45

5.6.2 Confusion Matrix	46

11.	Chapter 6.Research Gaps and Future Direction	48

6.1Introduction	48

6.2Feature Representation Limited to Static Global Patterns	49

6.3ArcFace Loss Without Comparison to Other Metric Losses	49

12.	52

13.	52

14.	52

15.	Chapter 7.Conclusion	52

16.	54

17.	Chapter 8. References	54

Table of Figures

Figure 1 .parsifal research question	9

Figure 2. Parsifal Keyword used	10

Figure 3.Parsifal paper selection	10

Figure 4.Sample of Dataset KATT	33

Figure 5.Sample of our Dataset	34

Figure 6.Sample of Croped dataset	35

Figure 7.Sample of Croped Dataset	35

Figure 8Sample of Croped Dataset	35

Figure 9.Sample of Croped Dataset	35

Figure 10.Sample of Croped Dataset	36

Figure 11.Binary format image	36

Figure 12.Binary format image	36

Figure 13.Traning and Validation Accuracy	40

Figure 14.Confusion Matrix	41

Table of Shortcuts:

| AI | Artificial inelegant |
| --- | --- |
| ARCFACE | Additive Angular Margin Loss |
| ResNet 50 | Residual Networks |
| KHATT | Kfupm Handwriting Arabic Text |
| HOG | Horizontal oriented gradient |
| CNN | Convolutional Neural Networks |
| mAP | Mean Average Precision |

Tables of tables

Table 1.comparation	28

Table 2pros &cons	29

Table 3Project charter	33

Table 4Statement of Work (SOW)	34

Table 5.Preliminary Scope Statement	36

Table 6.Risk Management	37

# Chapter 1 Introduction

## Introduction

In this chapter, we introduce our project and explain the main motivations for building an automated system for diabetic retinopathy (DR) severity grading. We also outline the key challenges in the APTOS 2019 retinal fundus dataset—most notably class imbalance across the five grades (0–4) and variability in image quality—and why these issues require a carefully designed deep learning pipeline. Finally, we present the objectives we aim to achieve and provide an overview of the main concepts and tools used in our model development and evaluation.

## Problem Definition

Diabetic retinopathy (DR) is widely recognized as a major cause of vision impairment and preventable blindness, and effective screening depends on timely and accurate grading of retinal fundus images. However, manual grading by specialists is time-consuming and difficult to scale, especially when large numbers of patients require periodic screening.

The core problem addressed in this project is automated DR severity grading into five ordinal classes (0–4) using the APTOS 2019 retinal fundus dataset. APTOS 2019 provides 3,662 labeled images for training, with labels corresponding to the five severity stages.

A key challenge is the dataset’s class imbalance, where grade 0 is the dominant class and the severe grades have substantially fewer samples (e.g., 1805/370/999/193/295 for grades 0–4). This imbalance can bias models toward majority-class predictions and reduce reliability on clinically critical minority grades.

In addition, DR grading is an ordinal classification task, meaning that misclassifying a case by several grades (e.g., 0 vs 4) is more severe than a one-grade error (e.g., 2 vs 3). For this reason, evaluation is commonly performed using Quadratic Weighted Kappa (QWK), which measures agreement while penalizing larger ordinal disagreements more heavily.

Accordingly, this report focuses on building and evaluating a deep learning pipeline that addresses: (1) the real-world variability of fundus images, (2) class imbalance across the five grades, and (3) the ordinal nature of DR severity, with model performance assessed using QWK under the APTOS 2019 setting

## Project Objectives

The objectives of a diabetic retinopathy (DR) grading project focus on enabling early and reliable screening by automatically assessing retinal fundus images and assigning a five-grade severity level (0–4) in alignment with the APTOS 2019 labeling scheme. A primary goal is to support clinical decision-making by helping identify patients at higher risk so that timely referral and treatment can be provided, since early detection and timely management are critical to avoiding irreversible vision loss. Another objective is to build a model that remains dependable under real-world data challenges, particularly the class imbalance present in APTOS 2019 and the variability in image acquisition conditions, which can cause models to over-predict the majority class if not properly addressed. In addition, because DR grades are ordinal, the project aims to evaluate and optimize the system using metrics that reflect clinical agreement—most importantly Quadratic Weighted Kappa (QWK), which penalizes larger grade disagreements more than minor errors and is widely used for DR grading in this context. Ultimately, the project seeks to deliver a robust, scalable deep learning pipeline that can contribute to more efficient DR screening workflows, while providing a clear basis for future improvements such as stronger generalization, enhanced interpretability, and more advanced handling of imbalanced and heterogeneous medical image data.

## Tools and concepts

### EfficientNetB3

EfficientNetB3 is a convolutional neural network from the EfficientNet family introduced in the 2019 paper “EfficientNet: Rethinking Model Scaling for Convolutional Neural Networks”. It is designed to achieve high accuracy with improved computational efficiency, and it is well-suited for transfer learning in medical image classification tasks such as five-grade diabetic retinopathy (0–4) grading. 
• Architecture Design: EfficientNet models are built from an optimized baseline (EfficientNet-B0) and scaled into variants (including B3) using a consistent scaling strategy:
1 baseline network designed via NAS for efficiency (B0)
2 scaled variants (B1–B7) derived from the baseline
3 EfficientNetB3 as one of these compound-scaled variants
• Compound Scaling: Scales network depth, width, and input resolution together using a single compound coefficient instead of scaling one dimension independently.
• Core Building Blocks: Uses MBConv (mobile inverted bottleneck) blocks and adds squeeze-and-excitation (SE) to improve representational power while keeping computation manageable. 
• Pre-trained Availability: Commonly available with ImageNet pretrained weights, enabling transfer learning and faster convergence when training on APTOS 2019.

##### 1.6.1.1Using EfficientNetB3 for Transfer Learning

There are two main strategies for transfer learning using EfficientNetB3:

- Feature Extraction (Freeze Base, Replace Head):
Purpose: Use EfficientNetB3’s convolutional base to extract features from fundus images, then train a new classification/regression head on top.
Use Cases:
When your dataset is limited in size and you want faster training with lower risk of overfitting.

- Fine-Tuning (Unfreeze Some Layers):
Purpose: Allow the network to adapt more deeply to APTOS 2019 by unfreezing and updating the weights of some layers (often the higher layers) after an initial warm-up.
Use Cases:
When the dataset is more domain-shifted from ImageNet (as in medical images) and additional compute/tuning is available for improved performance.

Quadratic Weighted Kappa (QWK)
Quadratic Weighted Kappa is an agreement-based metric commonly used for ordinal classification problems where labels have a natural order (such as diabetic retinopathy grades 0–4). It measures agreement between the clinician’s grade and the predicted grade while penalizing larger disagreements more heavily than small ones. In the APTOS 2019 competition setting, submissions are evaluated using QWK.

#### 1.6.2.1. The Core Idea

Traditional metrics such as accuracy treat all mistakes equally, which does not reflect the clinical meaning of severity grading. QWK explicitly accounts for the ordinal distance between grades, so predicting a far-away grade (e.g., 0 instead of 4) is penalized more than a near miss (e.g., 2 instead of 3). This aligns evaluation more closely with real-world DR severity assessment and is therefore the standard metric used for APTOS 2019 scoring.

#### 1.6.2.2. Formula

For quadratic weighting, the disagreement weights are typically defined as:

WIRELESS COMMUNICATIONS LETTERS, VOL(13), 6(s).

[7]. Ansari, S., & Saad Alatrany, A., & A. Alnajjar, K., & Khater, T., & Mahmoud,S., & Al-Jumeily, D., & Jaafar Hussain, A. (2023). A survey of artificial intelligence

[8]. Proakis, J. G., & Manolakis, D. G. (2007). Digital Signal Processing: Principles, Algorithms, and Applications. Pearson.